## Slide 1
Dust Cleaning Robot in Industrial
HVAC Systems
Abdulrahman Sharqawi (COE), Walid Annazhah (ME), Mohab Hussein (COE), Abdulrahman Alfhaid (ISE) Coach: Dr. Fadi Al-Badour
TEAM
26
PROBLEM STATEMENT
SPECIFICATIONS
Robot System Design & Methodology
CONCLUSION & FUTURE WORKS
The HVAC duct-cleaning robot met all key specifications, demonstrating effective mobility, brush reach, dust removal, and responsive control. Future improvements include adding autonomous navigation, improving dust collection, and integrating sensor mapping with wireless control for better usability.
Air quality in many facilities declines due to dust buildup inside HVAC ducts, yet current cleaning methods are slow, costly, and unable to reach complex duct geometries. This project develops a low-cost, remotely operated cleaning robot offering an effective solution for thorough dust removal and improved system performance.
Constraints
Control delay <= 1second
Robot Size must not exceed 50 × 40 × 30 cm.
HVAC dampers must be fully opened.
Robot operates in ducts up to 65cm height
Ethernet tether length is limited to 100 meters.
Robot weight should be less than 20kgs.
The robot will not operate in vertical duct sections.
Collision within 5 cm
30 Degree Slope
Brush up to 65 cm
Path Optimized
Remove 60% of the Dust
Travels 10 meters every cycle
Testing & Validation
Controlled by Operator:
Power Converter:
Multi Robot
Optimal Path:
Low latency:
Reaches everywhere:
It has two axis motion.
Tipping Over Calculation:
Dust Removal Efficiency:
Cleaning Time per Meter: