## Slide 1
Smart Assistive Walking Cane for Visually Impaired
Users
Saleh Alakkas (ME), Mohammed Alsunayyin (ME), Abdulmohsen Alshawarib (CS), Naif Alshalan
(SWE), Saleh Almutairi(EE), Nawaf Alharbi(ISE), Coach: Dr. Firas Al Hindawi
TEAM
39
PROBLEM STATEMENT
Testing & Validation
Constraints & Specifications
Prototype
OBJECTIVES
Critical Component No Failure
Cane Dimension
Visually impaired individuals need real-time obstacle detection beyond traditional canes to improve safety and independence.
Detect nearby obstacles in real time.
Provide clear vibration feedback to the user.
Support basic navigation guidance.
Improve user safety and independence.
Maintain a lightweight and comfortable cane design.
4 Vibration motors (Directional feedback)
Button
4 Ultrasonic
Sensors
Speaker
Camera
& Mic
Raspberry Pi 5
(Processor)
Power
bank
PCB
(interface board)
ESP32 (Controller)
Cane
Ball tip

## Slide 2
Smart Assistive Walking Cane for Visually Impaired
Users
Saleh Alakkas (ME), Mohammed Alsunayyin (ME), Abdulmohsen Alshawarib (CS), Naif Alshalan
(SWE), Saleh Almutairi(EE), Nawaf Alharbi(ISE), Coach: Dr. Firas Al Hindawi
TEAM
39
PROBLEM STATEMENT
Testing & Validation
Constraints & Specifications
Prototype
OBJECTIVES
Detect nearby obstacles in real time.
Provide clear vibration feedback to the user.
Support basic navigation guidance.
Improve user safety and independence.
Maintain a lightweight and comfortable cane design.
Critical Component No Failure
Cane Dimension
Visually impaired individuals need real-time obstacle detection beyond traditional canes to improve safety and independence.

## Slide 3
Smart Assistive Walking Cane for Visually Impaired
Users
Saleh Alakkas (ME), Mohammed Alsunayyin (ME), Abdulmohsen Alshawarib (CS), Naif Alshalan
(SWE), Saleh Almutairi(EE), Nawaf Alharbi(ISE), Coach: Dr. Firas Al Hindawi
TEAM
39
PROBLEM STATEMENT
Testing & Validation
Cane Prototype
Visually impaired individuals need real-time obstacle detection beyond traditional canes to improve safety and independence.
CONSTRAINTS & SPECIFICATIONS
Constraint 1
OBJECTIVES
Detect nearby obstacles in real time.
Provide clear vibration feedback to the user.
Support basic navigation guidance.
Improve user safety and independence.
Maintain a lightweight and comfortable cane design.
Critical Component No Failure
Cane Dimension
Specification 6
Specification 5

## Slide 4
Smart Assistive Walking Cane for Visually Impaired
Users
Saleh Alakkas (ME), Mohammed Alsunayyin (ME), Abdulmohsen Alshawarib (CS), Naif Alshalan
(SWE), Saleh Almutairi(EE), Nawaf Alharbi(ISE), Coach: Dr. Firas Al Hindawi
TEAM
39
PROBLEM STATEMENT
Testing & Validation
Cane Prototype
Visually impaired individuals need real-time obstacle detection beyond traditional canes to improve safety and independence.
CONSTRAINTS & SPECIFICATIONS
ultrasonic sensor shall detect obstacles within a range of 0.25 m to 2.0 m with an accuracy of ±5%.
All components of the cane should be have 1< FOS < 2.5
Voice commands are recognized within ≤ 0.5 s after the user finishes
speaking, with ≥ 90% intent accuracy in typical walking noise.
The system shall
respond to
detected obstacles
within 500 ms
When the front
distance is under
1.8 m, the handle
vibrates with at
least 90%
accuracy.
Mechanical Engineering Contributions:
  Structural Design
  FEA for All Components
  Sensors Mounting
  Prototype Assembly
OBJECTIVES
Detect nearby obstacles in real time.
Provide clear vibration feedback to the user.
Support basic navigation guidance.
Improve user safety and independence.
Maintain a lightweight and comfortable cane design.
Critical Component No Failure
Cane Dimension

## Slide 5
Smart Assistive Walking Cane for Visually Impaired
Users
Saleh Alakkas (ME), Mohammed Alsunayyin (ME), Abdulmohsen Alshawarib (CS), Naif Alshalan
(SWE), Saleh Almutairi(EE), Nawaf Alharbi(ISE), Coach: Dr. Firas Al Hindawi
TEAM
39
PROBLEM STATEMENT
Testing & Validation
Cane Prototype
Visually impaired individuals need real-time obstacle detection beyond traditional canes to improve safety and independence.
CONSTRAINTS & SPECIFICATIONS
Constraint 1
OBJECTIVES
Detect nearby obstacles in real time.
Provide clear vibration feedback to the user.
Support basic navigation guidance.
Improve user safety and independence.
Maintain a lightweight and comfortable cane design.
Critical Component No Failure
Cane Dimension
Constraints & Specification | Constraints and Specifications (Value/Metric)
Specification 1 | Response time: ≤500 ms
Specification 2 | Detection range: 0.25–2.0 m, ±5%
Specification 3 | Feedback accuracy: ≥90% under 1.8 m
Specification 4 | Vibration start: ≤0.8 s
Constraint 1 | Cane weight: <5 kg
Specification 5 | Factor of safety: 1–2.5
Specification 6 | Cane height: 70–95 cm
Specification 7 | Battery operation: ≥2.5 hours
Constraint 2 | Peak current: ≤3.5 A
Constraint 3 | Offline vibration + Bluetooth only
Specification 6
Specification 5